
Terms and Conditions of Supply

Project Name: Enhancing Pandemic Preparedness and Response capacity in the Republic of Moldova
Purchaser: Center for Health Policies and Studies 

1. Prices and Schedules for Supply

	Nr.
	Name of the product
	Quantity
	Unit Price
	Total Price    
	Delivery Time

	1
	Universal viral transport system (UTM  Virus Collection)
	2000 units
	
	
	not later than 90 days

	2
	Dulbecco’s Modified Eagle Medium  (500 ml)         
	20 bottles
	
	
	not later than 90 days

	3
	Fetal bovine serum (FBS), bulk 500 mL      
	2 bottles
	
	
	not later than 90 days

	4
	Albumin Bovine Fraction V (7,5%), bulk 100mL                                     
	5 bottles
	
	
	not later than 90 days

	5
	Gentamicin solution
	10 boxes
	
	
	not later than 90 days

	6
	Pipettes Pasteur, 3.5mL (steril)
	790 units
	
	
	not later than 90 days

	7
	Automatic pipette with adjustable volume of 2-20 µl
	5 units
	
	
	not later than 90 days

	8
	Support stand for single-channel automatic pipettes
	40 units
	
	
	not later than 90 days

	9
	IsoFreeze" cold stand for 0.2 ml PCR tubes
	15 units
	
	
	not later than 90 days

	10
	Cold stand "IsoFreeze" with 24 wells volume 1.5 / 2.0 ml
	5 units
	
	
	not later than 90 days

	11
	autoclavable bags (Package 100 units)
	5000 unit
	
	
	not later than 90 days

	12
	Thermometer for measuring the temperature in the refrigerator
	20 units
	
	
	not later than 90 days

	13
	Thermometer for measuring the temperature in the freezer
	4 units
	
	
	not later than 90 days

	14
	Hygrometer psychrometer
	30 units
	
	
	not later than 90 days

	15
	Powder-free latex gloves, size S, 100 units/box
	50 box
	
	
	not later than 90 days

	16
	Powder-free latex/nitrile gloves, size M  100 units/box
	30 box
	
	
	not later than 90 days

	17
	Cleaning and disinfecting the surfaces of medical devices
	5000 units / Towels
	
	
	not later than 90 days

	18
	Cleaning and disinfecting the surfaces of medical devices
	 80 liters
	
	
	not later than 90 days

	19
	Calibrator set for Quantstudio 5
	3 sets
	
	
	not later than 90 days


Note: In case of discrepancy between unit price and total derived from unit price, the correction will be done as provided in Paragraph 7 (iii) of the Invitation to quote

2. Fixed Price:  The prices indicated above are firm and fixed and not subject to any adjustment during contract performance.

3. The Purchaser reserves the right at the time of contract finalization to increase or decrease by up to 15% the quantity of goods and services originally specified without any change in unit prices as other terms and conditions.

4. Country of Origin: The goods offered should have their origin in World Bank member countries, and you will be required to furnish a certificate of origin for each item.

5. Delivery Schedule: The delivery should be not later than 90 days. The Supplier shall be the sole responsible for failure to comply with the obligations he undertook in the agreement, the PAS Center is entitled to deduct the equivalent of 0,1% per day of delay out of the total value of the agreement but not more than 5% of the contract value. This amount will replace penalties as such.
6. Applicable Law: The Contract shall be interpreted in accordance with the laws of the Purchaser's country.

7. Resolution of Disputes: The Purchaser and the Supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute between them under or in connection with the Contract. In the case of a dispute between the Purchaser and the Supplier, the dispute shall be settled in accordance with the country procedures.

8. Delivery and Documents: Upon shipment, the Supplier shall notify the Purchaser the full details of shipment, including contract number, description of goods, quantity, etc. The Supplier shall submit the following documents to the Purchaser:
(i) delivery document duly filled in, signed and sealed.

(ii) manufacturer's or supplier's warranty certificate (if applicable);

(iii) certificate of origin;

(iv) certificate of quality.

9. Payment: Invoices will be paid in 3 (three) working days in an amount of 100% against shipping documents and signature of acceptance certificate.
10. Warranty: Goods offered should be covered by manufacturer’s warranty.
11. Packaging and Marking Instructions: The Supplier shall provide standard packing of the Goods as required preventing their damage or deterioration during transit to their final destination, as indicated in the Contract.
12. Defects: All defects will be corrected by the Supplier without any cost to the Purchaser within 30 days from the date of notice by Purchaser.
13. Force-Majeure:  The supplier shall not be liable for penalties or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force-Majeure.

For purposes of this clause, “Force-Majeure” means an events beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable. Such events may include, but not restricted to, act of Purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes.

If a Force-Majeure situation arises, the Supplier shall promptly notify the purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by Force-Majeure event. 

14. Required Technical Specifications

Shelf life on delivery shall be at least 90% of the total period of validity.

	Nr.
	Name of the product
	Specifications and Requirements
	Specification proposed by the Suppliers

	1
	Universal viral transport system (UTM  Virus Collection) 
	Transport Medium, UTM™, room temperature stable viral transport medium for collection, transport, maintenance and long term freeze storage of Viruses, such as Influenza specimens. UTM™ for using in Rapid Antigen Testing, DFA, Culture and for Molecular-based Assays.ºC

Swab: 2 regular size plastic/ polyester flocked applicators (1 nose, 1 pharynx) 

Tube size and contain: (16x100mm; 3ml UTM™ medium

Suitability: sterile, individually wrapped. 

 12-month shelf life. 
	

	2
	Dulbecco's Modified Eagle Medium  (500 ml/bottles)
	Dulbecco's Modified Eagle Medium (DMEM) With 4.5gm, fenol red, Glucose per litre, L-Glutamine, 25mM HEPES buffer, Sodium bicarbonate liquid, sterile - filtered, without sodium pyruvate, suitable for cell culture.
1X Liquid Cell Culture Medium bottles of 500ml. Suitability: Sterile-filtered, endotoxin tested, cell culture tested. 

Shelf life:12 months from date of manufacture.

In case of need will be required samples for testing. Samples must be delivered during 3 working days after request.
	

	3
	Fetal bovine serum (FBS), bulk 500 mL      
	- Purpose: Certified FBS undergoes special biochemical and hormonal profile and bacterial testing. Lowest-endotoxin. Good for sensitive cell lines. Sterility: sterile-filtered
Suitability: suitable for sensitive cell culture

Suitability: Sterile-filtered, cell culture tested. Storage conditions: - 20ºC

Shipped in: dry ice.

In case of need will be required samples for testing. Samples must be delivered during 3 working days after request.
	

	4
	Albumin Bovine Fraction V (7,5%)  bulk 100 mL                                     
	Purpose: Albumin Bovine Fraction V 7,5%, for cell cultivation, 

sterile-filtered, endotoxin tested, cell culture tested.  Form: Liquid
	

	5
	Gentamicin solution
	GENTAMICIN 
Strength: 80 mg/2 ml solution
Packaging Type: a box of 10 vials of colorless glass x 2 ml solution
State: Liquid
Shelf life: 3 years
	

	6
	Pipettes Pasteur, 3.5mL (steril)
	Transfer pipette 3.5 ml, with graduation, sterile, 1 pc./paper/plastic packaging.
	

	7
	Automatic pipette with adjustable volume of

2-20 µl
	Automatic volume adjustable pipette

2-20 µl, made of autoclavable material,

Tip cone designed for universal tip compatibility

Calibration certificate

Grantion 2 years
	

	8
	Support stand for single- channel automatic pipettes.
	Support stand for 4 - 6 single-channel automatic pipettes. Compatible with all types of pipettes - dispensers
	

	9
	IsoFreeze" cold stand for 0.2 ml PCR tubes
	Cold stand "IsoFreeze" for PCR tubes with volume 0.2 ml with lid, for 96 wells (8x12) maintaining the temperature 0 ° C not less than 3 hours. Temperature resistant -20 ° C
	

	10
	Cold stand "IsoFreeze" with 24 wells volume 1.5 / 2.0 ml
	Cold stand "IsoFreeze" with 24 wells, volume 1.5 / 2.0 ml with lid, maintaining the temperature 0 ° C not less than 3 hours. Temperature resistant -20 ° C
	

	11
	autoclavable bags

(Package 100)
	Bags for biological waste, autoclavable resistant to 135 ° C,

Material - PP Polypropylene, 

Thickness 50 µm

Volume - Capacity ~ 33 liters

Dimensions: width 400 - 500 mm

                       Length 600 - 800 mm
	

	12
	Thermometer for measuring the temperature in the refrigerator
	Ethyl alcohol thermometer (for refrigerator)

range -30 ° C - + 30 ° C,
the value of the division ± 0.5 ° C

Metrological verification bulletin
	

	13
	Thermometer for measuring the temperature in the freezer
	Thermometer (for freezer)

- 20 ° C - 80 ° C range,

Resolution 0.1 ° C

Metrological verification bulletin
	

	14
	Hygrometer psychrometer
	It consists of 2 dry and wet thermometers and the table for evaluating the relative humidity of the air.

Relative humidity measuring range 20-90%; temperature + 15-40 ° C

Warranty period min 2 years from the time of installation of the equipment

Initial metrological verification bulletin
	

	15
	Powder-free latex gloves, size S, 100 units/box
	Purpose:  Powder-free disposable latex gloves for protection and comfort without the risks of laboratory interference, infection or allergic reaction;

Package: 100 gloves per box;

Size: Small (S); Thickness: 9,0 mils 

Suitability:  powder-free
	

	16
	Powder-free latex/nitrile gloves, size M  100 units/box
	- Purpose:  Powder-free disposable latex gloves for protection and comfort without the risks of laboratory interference, infection or allergic reaction;

Package: 100 gloves per box;

Size: Medium (M); Thickness: 9,0 mils 

Suitability:  powder-free
	

	17
	Cleaning and disinfecting the surfaces of medical devices
	Disinfectant action:

Virucide EN 14476,

Bactericide EN 13727.

If necessary, laboratory tests will be required.

Certifications:

Confirmation that upon delivery the shelf life of the product will be not less than 80% of its total shelf life;

Certificate of registration in the National Register of biocidal products, until the opening of tenders.

Chemical safety data sheet, copy, or original of the product in the international language and translation into Romanian, confirmed by applying the signature and stamp of the Participant.

Confirmation of the presentation of the quality certificate for each batch.

The instruction for use of the product in Romanian at the time of delivery-copy or original confirmed by the signature and stamp of the Participant.

Technical requirements:

The active substance - at least alcohol and quaternary ammonium salts.

Product - biocide-impregnated napkins.

Packaging up to 100 pieces, minimum dimensions 12x18 cm

Product shelf life of not less than 2 years.

Exhibition 15 min
	

	18
	Cleaning and disinfecting the surfaces of medical devices
	Disinfectant action:

Virucide EN 14476,

Bactericide EN 13727.

If necessary, laboratory tests will be required.

Certifications:

Confirmation that upon delivery the shelf life of the product will be not less than 80% of its total shelf life;

Certificate of registration in the National Register of biocidal products, until the opening of tenders.

Chemical safety data sheet, copy, or original of the product in the international language and translation into Romanian, confirmed by applying the signature and stamp of the Participant.

Confirmation of the presentation of the quality certificate for each batch.

The instruction for use of the product in Romanian at the time of delivery-copy or original confirmed by the signature and stamp of the Participant.

Technical requirements:

The active substance - at least Glutaraldehyde and quaternary ammonium salts.

Product - liquid.

Packaging up to 1 liter.

The shelf life of the product is not less than 2 years.
	

	19
	Calibrator set for Quantstudio 5
	Calibration kit establishes the pure dye spectra and multicomponent values for FAM™, VIC™, ROX™, SYBR™ , ABY™, JUN™, MUSTANG PURPLE™, TAMRA™, NED™, and Cy®5 dyes on the QuantStudio™ 5,

· 96-well 0.2-mL real-time PCR systems.

Specifications:
Concentration - 0.2 mL
GC-Rich PCR Performance - Low
PCR Method - qPCR
Volume - 0.2 mL
For Use With (Application) - Real Time PCR (qPCR)
Product Type - Spectral Calibration Kit
Shipping Condition - Dry Ice
	



Supplier confirms compliance with above specifications {In case of deviations supplier to list all such deviations}


15. Failure to Perform: The Purchaser may cancel the Agreement if the Supplier fails to deliver the Goods, in accordance with the above terms and conditions, in spite of a 21-day notice given by the Purchaser, without incurring any liability to the Supplier. 

NAME OF SUPPLIER________________________________________________


Authorized Signature________________________________________


Date: 
PAGE  
6

