
Terms and Conditions of Supply

Project Name: Enhancing Pandemic Preparedness and Response capacity in the Republic of Moldova
Purchaser: Center for Health Policies and Studies 

1. Prices and Schedules for Supply

	Nr.
	Name of the product
	Quantity
	Unit Price
	Total Price    
	Delivery Time

	1
	RNA/DNA Column Extraction kit from biological samples 
	1000 tests
	
	
	not later than 90 days

	2
	Universal viral transport system (UTM  Virus Collection) 
	5500 units
	
	
	not later than 90 days

	3
	Dulbecco’s Modified Eagle Medium  (500 ml)         
	20 bottles
	
	
	not later than 90 days

	4
	Fetal bovine serum (FBS), bulk 500 mL      
	1 bottle
	
	
	not later than 90 days

	5
	Universal filtered pipette tips, 2 – 20 μl
	400 racks
	
	
	not later than 90 days

	6
	Universal filtered pipette tips, 20 – 200 μl
	300 racks
	
	
	not later than 90 days

	7
	Universal filtered pipette tips, 100 – 1000 μl
	300 racks
	
	
	not later than 90 days

	8
	Universal tips without filter 1 – 200 μl
	540000 units
	
	
	not later than 90 days

	9
	Culture tubes 16 x 125 mm, steril (1box x 500 units) 
	2 boxes
	
	
	not later than 90 days

	10
	Powder-free latex gloves, size S, 100 units/box
	40 boxes
	
	
	not later than 90 days

	11
	Powder-free latex/nitrile gloves, size M, 100  units/box
	40 boxes
	
	
	not later than 90 days

	12
	Pipettes Pasteur, 3.5mL (steril)
	520 units
	
	
	not later than 90 days

	13
	autoclavable bags 
	3000 units
	
	
	not later than 90 days


Note: In case of discrepancy between unit price and total derived from unit price, the correction will be done as provided in Paragraph 7 (iii) of the Invitation to quote

2. Fixed Price:  The prices indicated above are firm and fixed and not subject to any adjustment during contract performance.

3. The Purchaser reserves the right at the time of contract finalization to increase or decrease by up to 15% the quantity of goods and services originally specified without any change in unit prices as other terms and conditions.

4. Country of Origin: The goods offered should have their origin in World Bank member countries, and you will be required to furnish a certificate of origin for each item.

5. Delivery Schedule: The delivery should be not later than 90 days. The Supplier shall be the sole responsible for failure to comply with the obligations he undertook in the agreement, the PAS Center is entitled to deduct the equivalent of 0,1% per day of delay out of the total value of the agreement but not more than 5% of the contract value. This amount will replace penalties as such.
6. Applicable Law: The Contract shall be interpreted in accordance with the laws of the Purchaser's country.

7. Resolution of Disputes: The Purchaser and the Supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute between them under or in connection with the Contract. In the case of a dispute between the Purchaser and the Supplier, the dispute shall be settled in accordance with the country procedures.

8. Delivery and Documents: Upon shipment, the Supplier shall notify the Purchaser the full details of shipment, including contract number, description of goods, quantity, etc. The Supplier shall submit the following documents to the Purchaser:
(i) delivery document duly filled in, signed and sealed.

(ii) manufacturer's or supplier's warranty certificate (if applicable);

(iii) certificate of origin;

(iv) certificate of quality.

9. Payment: Invoices will be paid in 3 (three) working days in an amount of 100% against shipping documents and signature of acceptance certificate.
10. Warranty: Goods offered should be covered by manufacturer’s warranty.
11. Packaging and Marking Instructions: The Supplier shall provide standard packing of the Goods as required preventing their damage or deterioration during transit to their final destination, as indicated in the Contract.
12. Defects: All defects will be corrected by the Supplier without any cost to the Purchaser within 30 days from the date of notice by Purchaser.
13. Force-Majeure:  The supplier shall not be liable for penalties or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force-Majeure.

For purposes of this clause, “Force-Majeure” means an events beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable. Such events may include, but not restricted to, act of Purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes.

If a Force-Majeure situation arises, the Supplier shall promptly notify the purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by Force-Majeure event. 

14. Required Technical Specifications

Shelf life on delivery shall be at least 90% of the total period of validity.

	Nr.
	Name of the product
	Specifications and Requirements
	Specification proposed by the Suppliers

	1
	RNA/DNA Column Extraction kit from biological samples 


	- Purpose: RNA/DNA Extraction kit from biological samples (nasal swabs) designed for rapid preparation of highly pure viral nucleic acids, including Influenza viruses. 

Containing: Collecting tubes for all steps of extraction

Suitability: molecular biology grade, Dnase, Rnase free.

Storage and shipping conditions: 15°C to 25°C
- Quality management system: ISO and CE mark;

Shelf life: no less than 12 months from date of manufacture
	

	2
	Universal viral transport system (UTM  Virus Collection) 
	Transport Medium, UTM™, room temperature stable viral transport medium for collection, transport, maintenance and long term freeze storage of Viruses, such as Influenza specimens. UTM™ for using in Rapid Antigen Testing, DFA, Culture and for Molecular-based Assays.  ºC

Swab: 2 regular size plastic/ polyester flocked applicators (1 nose, 1 pharynx) 

Tube size and contain: (16x100mm; 3ml UTM™ medium

Suitability: sterile, individually wrapped. 

 12-month shelf life. 
	

	3
	Dulbecco's Modified Eagle Medium  (500 ml)         
	Dulbecco's Modified Eagle Medium (DMEM) With 4.5gm, fenol red, Glucose per litre, L-Glutamine, 25mM HEPES buffer, Sodium bicarbonate liquid, sterile - filtered,  without sodium pyruvate, suitable for cell culture.
1X Liquid Cell Culture Medium bottles of 500 mL
Suitability: Sterile-filtered, endotoxin tested, cell culture tested. 

Shelf life:12 months from date of manufacture.


	

	4
	Fetal bovine serum (FBS), bulk 500 mL      
	- Purpose: Certified FBS undergoes special biochemical and hormonal profile and bacterial testing.

Lowest-endotoxin. Good for sensitive cell lines. Sterility: sterile-filtered
Suitability: suitable for sensitive cell culture

Suitability: Sterile-filtered, cell culture tested. Storage conditions: - 20ºC

Shipped in: dry ice.
	

	5
	Universal filtered pipette tips, 

2 – 20 μl
	- Purpose:  Universal polypropylene filtered pipette tips with hydrophobic filter for preventing cross-contamination of sample during delivery, molecular biology application;

Compatibility: compatible with Discovery+ automatic pipettors, volumes 2 – 20 μl;

Wrap: Rack 96, sterile;

Color: naturally clear color for easy see fluid level;

Suitability: Sterile gamma-irradiated, suitable for PCR technology – certified RNAse/DNAse free.

Shelf life: no less than 5 years from date of manufacture
	

	6
	Universal filtered pipette tips, 

20 – 200 μl
	- Purpose:  Universal polypropylene filtered pipette tips with hydrophobic filter for preventing cross-contamination of sample during delivery, molecular biology application;

Compatibility: compatible with Discovery+ automatic pipettors, volumes 20 – 200 μl;

Wrap: Rack 96, sterile;

Color: naturally clear color for easy see fluid level;

Suitability: Sterile gamma-irradiated, suitable for PCR technology – certified RNAse/DNAse free.

Shelf life: no less than 5 years from date of manufacture
	

	7
	Universal filtered pipette tips, 

100 – 1000 μl
	 - Purpose:  Universal polypropylene filtered pipette tips with hydrophobic filter for preventing cross-contamination of sample during delivery, molecular biology application;

Compatibility: compatible with Discovery+ automatic pipettors, volumes 100 – 1000 μl;

Wrap: Rack 96, sterile;

Color: naturally clear color for easy see fluid level;

Suitability: Sterile gamma-irradiated, suitable for PCR technology – certified RNAse/DNAse free. 

Shelf life: no less than 5 years from date of manufacture
	

	8
	Universal tips without filter 1 – 200 μl 
	Purpose:  molecular biology application;

Compatibility: Used with virtually all principal brand pipettors inclusive compatible with Discovery+ automatic pipettors, volumes 1 – 200 μl;

Color: naturally clear color for easy see fluid level;

Suitability: Sterile gamma-irradiated, suitable for PCR technology – certified RNAse/DNAse free. 

Shelf life: no less than 5 years from date of manufacture
	

	9
	Culture tubes 16 x 125 mm, steril (1box x 500 units) 
	Sterile culture tubes are manufactured from optically clear polystyrene; Tubes are Tissue Culture Treated for optimal cell attachment 

Threaded plug seal caps prevent leakage 

Sterilized by gamma radiation and certified nonpyrogenic; Size: 16 x 125 mm

 50 sterile culture tubes per bag. Case of 500
	

	10
	Powder-free latex / nitrile gloves, size S, 100 units/box
	Purpose:  Powder-free disposable latex gloves for protection and comfort without the risks of laboratory interference, infection or allergic reaction; 

Package: 100 gloves per box;

Size: Small (S); Thickness: 9,0 mils 

Suitability:  powder-free
	

	11
	Powder-free latex /nitrile gloves, size M 100 units/box
	- Purpose:   Disposable latex gloves for protection and comfort without the risks of laboratory interference, infection or allergic reaction; Package: 100 gloves per box;

Size: Medium (M); Thickness: 9,0 mils 

Suitability:  powder-free
	

	12
	Pipettes Pasteur, 3.5mL (steril)
	Transfer pipette 3.5 ml, with graduation, sterile, 1 pc./paper/plastic packaging.
	

	13
	Autoclavable bags
	Bags for biological waste, autoclavable resistant to 135 ° C,

Material - PP Polypropylene, 

Thickness 50 µm

Volume - Capacity ~ 33 liters

Dimensions: width 400 - 500 mm

                       Length 600 - 800 mm


	



Supplier confirms compliance with above specifications {In case of deviations supplier to list all such deviations}


15. Failure to Perform: The Purchaser may cancel the Agreement if the Supplier fails to deliver the Goods, in accordance with the above terms and conditions, in spite of a 21-day notice given by the Purchaser, without incurring any liability to the Supplier. 

NAME OF SUPPLIER________________________________________________


Authorized Signature________________________________________


Date: 
PAGE  
2

