
Terms and Conditions of Supply

Project Name: Enhancing Pandemic Preparedness and Response capacity in the Republic of Moldova
Purchaser: Center for Health Policies and Studies 

1. Prices and Schedules for Supply

	Nr.
	Name of the product
	Quantity
	Unit Price
	Total Price    
	Delivery Time

	1
	Enzyme Ag Patg-ID One Step RT-PCR Kit (1000 tests kit)
	1 kit
	
	
	not later than 90 days

	2
	ORVI–Screen Fl Kit (100 tests kit)
	3 kits
	
	
	not later than 90 days

	3
	Trypsin-EDTA solution, 0,05%  (1x 500 ml)                          
	2 bottle
	
	
	not later than 90 days

	4
	Alsever’s Solution   (1x100 ml) 
	2 bottle
	
	
	not later than 90 days

	5
	Laboratory refrigerated centrifuge
	1 unit
	
	
	not later than 90 days

	6
	Gentamicin solution
	10 boxes
	
	
	not later than 90 days

	7
	Support stand for single-channel automatic pipettes
	40 units
	
	
	not later than 90 days

	8
	Thermometer for measuring the temperature in the freezer
	4 units
	
	
	not later than 90 days


Note: In case of discrepancy between unit price and total derived from unit price, the correction will be done as provided in Paragraph 7 (iii) of the Invitation to quote

2. Fixed Price:  The prices indicated above are firm and fixed and not subject to any adjustment during contract performance.

3. The Purchaser reserves the right at the time of contract finalization to increase or decrease by up to 15% the quantity of goods and services originally specified without any change in unit prices as other terms and conditions.

4. Country of Origin: The goods offered should have their origin in World Bank member countries, and you will be required to furnish a certificate of origin for each item.

5. Delivery Schedule: The delivery should be not later than 90 days. The Supplier shall be the sole responsible for failure to comply with the obligations he undertook in the agreement, the PAS Center is entitled to deduct the equivalent of 0,1% per day of delay out of the total value of the agreement but not more than 5% of the contract value. This amount will replace penalties as such.
6. Applicable Law: The Contract shall be interpreted in accordance with the laws of the Purchaser's country.

7. Resolution of Disputes: The Purchaser and the Supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute between them under or in connection with the Contract. In the case of a dispute between the Purchaser and the Supplier, the dispute shall be settled in accordance with the country procedures.

8. Delivery and Documents: Upon shipment, the Supplier shall notify the Purchaser the full details of shipment, including contract number, description of goods, quantity, etc. The Supplier shall submit the following documents to the Purchaser:
(i) delivery document duly filled in, signed and sealed.

(ii) manufacturer's or supplier's warranty certificate (if applicable);

(iii) certificate of origin;

(iv) certificate of quality.

9. Payment: Invoices will be paid in 3 (three) working days in an amount of 100% against shipping documents and signature of acceptance certificate.
10. Warranty: Goods offered should be covered by manufacturer’s warranty.
11. Packaging and Marking Instructions: The Supplier shall provide standard packing of the Goods as required preventing their damage or deterioration during transit to their final destination, as indicated in the Contract.
12. Defects: All defects will be corrected by the Supplier without any cost to the Purchaser within 30 days from the date of notice by Purchaser.
13. Force-Majeure:  The supplier shall not be liable for penalties or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force-Majeure.

For purposes of this clause, “Force-Majeure” means an events beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable. Such events may include, but not restricted to, act of Purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes.

If a Force-Majeure situation arises, the Supplier shall promptly notify the purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by Force-Majeure event. 

14. Required Technical Specifications

Shelf life on delivery shall be at least 90% of the total period of validity.

	Nr.
	Name of the product
	Specifications and Requirements
	Specification proposed by the Suppliers

	1
	Enzyme Ag Patg-ID One Step RT-PCR Kit (1000 tests kit)
	Purpose: AgPath-ID™ One-Step RT-PCR Reagents are designed for sensitive, robust amplification of RNA targets

using a rapid single-tube TaqMan® real-time reverse transcription PCR (RT-PCR) strategy. 

Sufficient for 1000 reactions of 25 µL, contains: 
2X RT-PCR Buffer 
25X RT-PCR Enzyme Mix 
Nuclease-free Water. For human diagnostic.

Shelf life: no less than 12 months from date of manufacture
	

	2
	ORVI–Screen Fl Kit (100 tests kit)
	- Purpose: Kit for real-time (preferential) or conventional PCR (polymerase chain reaction) testing. A set of reagents for the detection and identification of specific nucleic acid fragments of pathogens of acute respiratory viral infections (SARS): human respiratory syncytial virus (hRSv), human metapneumovirus (hMpv), human parainfluenza viruses 1, 2, 3, and 4 types (hPiv), human coronaviruses of OS43, E229, NL63, HKUI (hCov), human rhinovirus (hRv), human adenovirus DNA groups B, C and E (hAdv) and human bokavirus (hBov) in clinical material.

- Sensibility > 95%; Specificity 100 %;

- Quality management system: ISO and CE mark;

- Kit contains all necessary reagents for nucleic acid extraction, revers transcription, amplification, detection and control test.

Shelf life: no less than 12 months from date of manufacture
	

	3
	Trypsin-EDTA solution, 0,05%  

(500 ml)                          
	- Purpose: 0.05% Trypsin-EDTA (1X) (Trypsin-ethylenediaminetetraacetic acid) (0,05% trypsin), phenol red

Storage conditions: -5 to -20°C.
Shipping conditions: Frozen.
Shelf life: 12 months from date of manufacture.

Suitability: Sterile-filtered, endotoxin tested, cell culture tested. 
	

	4
	Alsever’s Solution   (100 ml)
	Purpose: Alsever’s Solution,

Form: Liquid;

This product is composed of (in g/L):

- NaCl (4.2)

- Citric Acid•3Na•2H2O (8.0)

- Citric Acid•H2O (0.55)

- D-Glucose (20.5).

Shelf life: no less than 24 months from date of manufacture
	

	5
	Laboratory refrigerated centrifuge

	Laboratory refrigerated centrifuge
Benchtop type
Speed adjustment: 1000 – 23000 rpm, in steps of 100 rpm
Acoustic signal at the end of run
Automatic lid opening after the run is complete, motorized lid lock, emergency lid lock release
Lid with viewing port 
Brushless induction drive
Stainless steel chamber
Steel exterior case
Overspeed detection, imbalance detection and cut-off
Automatic rotor identification
Touchscreen panel
Timer: at least 10 hours
Possibility to set up to 50 programs
Temperature set range: -20°C to +40°C in steps of 1°C
Refrigeration System: CFC-free refrigerant
Noise Level: 5not more that 58 dbA
Overheating protecting
Centrifuge must be delivered with angle rotor, with hermetic lid, for at least 6x50 ml conical tubes, capable to reach speed of at least 14000 rpm.
Power supply: 230V / 50Hz
	

	6
	Gentamicin solution
	GENTAMICIN 
Strength: 80 mg/2 ml solution
Packaging Type: a box of 10 vials of colorless glass x 2 ml solution
State: Liquid
Shelf life: 3 years
	

	7
	Support stand for single- channel automatic pipettes.
	Support stand for 4 - 6 single-channel automatic pipettes. Compatible with all types of pipettes - dispensers
	

	8
	Thermometer for measuring the temperature in the freezer
	Thermometer (for freezer)

- 20 ° C - 80 ° C range,

Resolution 0.1 ° C

Metrological verification bulletin
	



Supplier confirms compliance with above specifications {In case of deviations supplier to list all such deviations}


15. Failure to Perform: The Purchaser may cancel the Agreement if the Supplier fails to deliver the Goods, in accordance with the above terms and conditions, in spite of a 21-day notice given by the Purchaser, without incurring any liability to the Supplier. 

NAME OF SUPPLIER________________________________________________


Authorized Signature________________________________________


Date: 
PAGE  
5

